Chap 3 Microscopic Technique

light microscope

Definition

A light microscope, also called an optical microscope, is an instrument used to observe objects that are too small to be seen clearly with the naked eye. It uses visible light and a system of glass lenses to produce a magnified image.

It is widely used in biology, microbiology, pathology, biotechnology, and medical laboratories.

- Principle of a Light Microscope

A light microscope (compound microscope) works on the principle of visible light illumination and magnification by a system of glass lenses. Light passes through the specimen, and the objective and eyepiece lenses magnify the image so it can be viewed by the human eye.

Working of a Light Microscope

- A light source (mirror or built-in lamp) provides illumination.

- The condenser focuses light onto the specimen placed on the stage.

- Light passes through the specimen.

- The objective lens collects the transmitted light and forms a magnified, inverted, and real image.

- The eyepiece (ocular lens) further magnifies this image to produce a virtual image that is seen by the observer.

- The coarse and fine adjustment knobs are used to bring the image into sharp focus.

Main Parts of a Light Microscope

The parts can be divided into mechanical, optical, and illumination systems.

A. Mechanical Parts

1. Base

- The bottom supporting part of the microscope.

- Provides stability.

- Often contains the illumination system.

2. Arm

- Supports the upper parts of the microscope.

- Used for carrying the microscope safely.

3. Body tube / Head

- Holds the eyepiece and maintains the correct distance between the eyepiece and objective lenses.

4. Revolving Nosepiece

- Holds the objective lenses.

- Can be rotated to change the objective being used.

5. Stage

- A flat platform on which the specimen slide is placed.

- Usually has a central opening through which light passes.

6. Stage Clips / Mechanical Stage

- Holds the microscope slide firmly.

- Mechanical stages allow precise movement of the slide.

7. Coarse Adjustment Knob

- Moves the objective or stage rapidly.

- Used for initial focusing.

- Mainly used with low-power objectives.

8. Fine Adjustment Knob

- Makes small movements for accurate focusing.

- Used to obtain a sharp and clear image, especially at higher magnification.

4. Optical Parts

1. Eyepiece / Ocular Lens

- The lens through which the specimen is viewed.

- Usually has magnification of 5×, 10×, or 15×.

- Further magnifies the image formed by the objective lens.

2. Objective Lenses

These are the most important magnifying lenses.

Common objectives include:

| Objective | Magnification | Use |
| --- | --- | --- |
| Scanning | 4× | Locating the specimen |
| Low power | 10× | General observation |
| High power | 40× | Detailed observation |
| Oil immersion | 100× | Very small organisms and structures |

The 100× oil-immersion objective is commonly used in microbiology for observing bacteria.

3. Condenser

- Located below the stage.

- Concentrates and focuses light onto the specimen.

- Helps produce a brighter and clearer image.

4. Iris Diaphragm

- Controls the amount of light reaching the specimen.

- Helps adjust contrast and illumination.

5. Light Source

- Provides illumination.

- Modern microscopes generally use an electric LED or other built-in lamp.

- Types of Light Microscopes

1. Bright-field Microscope

- Most commonly used type.

- Specimen appears darker against a bright background.

- Often requires staining for microorganisms.

Uses: bacteria, fungi, tissues, cells.

2. Dark-field Microscope

- The background appears dark.

- The specimen appears bright.

- Useful for thin or unstained organisms.

Example: observation of certain spirochetes.

3. Phase-contrast Microscope

- Converts differences in the phase of light into differences in brightness.

- Allows observation of living, unstained cells.

Uses: cell culture, protozoa, living microorganisms.

4. Fluorescence Microscope

- Uses high-energy light to excite fluorescent substances.

- Fluorescently labeled structures emit light and appear bright against a dark background.

Uses: detection of specific microorganisms, antibodies, cellular structures, and diagnostic applications.

5. Polarizing Microscope

- Uses polarized light.

- Useful for studying birefringent materials.

Uses: crystals, minerals, and certain biological structures.

Application

Light microscopes are used in:

- Microbiology — observation of bacteria, fungi, protozoa, etc.

- Histology — examination of tissues.

- Cytology — study of cells.

- Pathology — examination of tissue sections and pathological changes.

- Botany — study of plant cells and tissues.

- Zoology — study of animal cells and tissues.

- Medical laboratories — examination of stained specimens.

- Research laboratories — cell biology and microbiological studies.

- Education — teaching microscopic structures.

Advantages

- Relatively simple to operate.

- Suitable for routine laboratory work.

- Allows observation of cells and tissues.

- Living cells can be observed with suitable techniques.

- Different staining techniques can provide useful structural information.

- Less expensive than many advanced microscopy systems.

- Provides images in natural or stained colors depending on the technique.

Other definition

Numerical Aperture

The ability of an objective to collect light and resolve fine details is related to its numerical aperture (NA).

It depends on:

- Refractive index of the medium

- Angle at which light enters the objective

Transmission Electron Microscope (TEM)

Definition

A Transmission Electron Microscope (TEM) is an electron microscope that uses a beam of high-energy electrons transmitted through an ultrathin specimen to produce a highly magnified, high-resolution image of its internal structures.

TEM is mainly used to study the ultrastructure of cells, microorganisms, organelles, viruses, and other very small structures.

Principle

TEM works on the principle that electrons have a much shorter wavelength than visible light. Therefore, an electron beam can provide much higher resolving power than a conventional light microscope.

A beam of electrons is generated and accelerated under high vacuum. The electron beam passes through an ultrathin specimen. Different parts of the specimen scatter or absorb electrons to different degrees.

The transmitted electrons are focused by electromagnetic lenses to form an enlarged image.

Basic principle

Electron gun → Electron beam → Condenser lens → Ultrathin specimen → Objective lens → Intermediate lens → Projector lens → Image

Main Parts of TEM

1. Electron Gun

- Produces electrons.

- Usually uses a heated filament or field-emission source.

- Electrons are accelerated to high energy.

2. Anode

- Positively charged electrode.

- Accelerates the electrons produced by the electron gun.

3. Electromagnetic Condenser Lenses

- Focus the electron beam onto the specimen.

- Control the intensity and diameter of the beam.

4. Specimen Holder

- Holds the extremely thin specimen in the electron beam path.

- The specimen must be sufficiently thin for electrons to pass through it.

5. Objective Lens

- Collects transmitted electrons.

- Forms the first magnified image of the specimen.

6. Intermediate Lens

- Further magnifies the image produced by the objective lens.

7. Projector Lens

- Produces the final highly magnified image.

- Projects the image onto a fluorescent screen or detector.

8. Fluorescent Screen/Detector

- Converts the electron image into a visible image.

- Modern instruments commonly use digital detectors.

9. Vacuum System

- Maintains a high vacuum inside the microscope.

- Prevents electrons from colliding with air molecules.

4. Working of TEM

The working occurs in the following steps:

Step 1: Production of electrons

The electron gun generates a beam of electrons.

Step 2: Acceleration

The electrons are accelerated to high velocity using a high-voltage electric field.

Step 3: Focusing

The condenser electromagnetic lenses focus the electron beam into a narrow beam.

Step 4: Passage through specimen

The focused electron beam passes through an ultrathin specimen.

Different regions of the specimen interact differently with electrons.

- Dense regions scatter or absorb more electrons.

- Less dense regions allow more electrons to pass through.

Step 5: Image formation

The transmitted electrons enter the objective lens, which forms the initial magnified image.

Step 6: Magnification

The intermediate and projector lenses further magnify the image.

Step 7: Image detection

The final image is displayed on a fluorescent screen or recorded using a digital detector.

Diagram / Flow of TEM

Electron gun
↓
High-voltage acceleration
↓
Condenser lenses
↓
Ultrathin specimen
↓
Objective lens
↓
Intermediate lens
↓
Projector lens
↓
Screen / Digital detector
↓
Final magnified image

Why Electrons Are Used Instead of Light?

Visible light has a relatively long wavelength, which limits the resolution of a light microscope.

Electrons have a much shorter de Broglie wavelength, allowing much smaller structures to be resolved.

Therefore:

Shorter wavelength → Higher potential resolution → Greater structural detail

TEM can resolve structures at the nanometer scale, substantially better than a conventional light microscope.

Specimen Preparation for TEM

TEM requires extensive specimen preparation because electrons must pass through the specimen.

Typical steps include:

- Fixation – preserves cellular structures.

- Dehydration – removes water from the specimen.

- Embedding – specimen is embedded in a suitable resin.

- Sectioning – ultrathin sections are produced using an ultramicrotome.

- Staining/contrast enhancement – heavy-metal stains may be used to increase electron contrast.

- Mounting – sections are placed on a suitable grid.

- Examination – specimen is placed inside the TEM under vacuum.

Types of Images

TEM generally produces a two-dimensional image of the specimen's internal ultrastructure.

The image is formed according to the number of electrons transmitted through different parts of the specimen.

Regions through which fewer electrons pass generally appear darker, while regions transmitting more electrons appear lighter, depending on imaging and staining conditions.

Advantages of TEM

- Very high resolving power.

- Very high magnification.

- Allows examination of cellular ultrastructure.

- Can reveal organelles and structures that cannot be resolved with a conventional light microscope.

- Useful for studying viruses and nanoparticles.

- Provides detailed information about internal structures.

Limitations of TEM

- Specimen preparation is complex and time-consuming.

- Requires an ultrathin specimen.

- Requires a high-vacuum environment.

- Living specimens generally cannot be examined in the conventional TEM.

- Preparation can introduce artifacts.

- Instruments are expensive.

- Operation requires specialized training.

- Conventional TEM images are essentially 2D projections.

Applications of TEM

TEM is used in:

- Microbiology – studying bacterial ultrastructure and viruses.

- Cell biology – studying mitochondria, ribosomes, membranes, ER, Golgi apparatus, etc.

- Virology – visualization and structural study of viruses.

- Pathology – investigation of cellular abnormalities.

- Nanotechnology – characterization of nanoparticles and nanomaterials.

- Materials science – studying crystal structures and defects.

- Biotechnology – examination of biological macromolecular structures.

- Research laboratories – high-resolution structural investigations.

Fluorescence Microscope

Definition

A fluorescence microscope is a type of light microscope that uses fluorescent substances (fluorophores) and high-energy light to produce an image of specific structures in a specimen.

It is widely used in microbiology, cell biology, immunology, pathology, and molecular biology.

Principle

The fluorescence microscope works on the principle of fluorescence.

Certain substances called fluorophores absorb light of a particular, shorter wavelength (usually ultraviolet, violet, or blue light) and then emit light of a longer wavelength.

In simple terms:

Excitation light → Fluorophore absorbs light → Fluorophore emits longer-wavelength light → Bright fluorescent image

For example, a fluorescent dye may absorb blue/UV light and emit green light.

The emitted fluorescence is separated from the excitation light using optical filters and is detected by the observer or camera.

Main Components

1. Light Source

Provides intense illumination needed to excite fluorescent molecules.

Common sources include:

- Mercury-vapor lamps

- Xenon lamps

- Metal-halide lamps

- High-power LEDs

- Lasers in some specialized systems

2. Excitation Filter

Selects the appropriate wavelength of light needed to excite the fluorophore.

3. Dichroic Mirror

- A special optical mirror.

- Reflects the excitation light toward the specimen.

- Allows the emitted fluorescent light to pass toward the detector.

4. Objective Lens

- Focuses excitation light onto the specimen.

- Collects the emitted fluorescence from the specimen.

- Produces the magnified image.

5. Emission/Barrier Filter

Allows the fluorescent emission wavelength to pass while blocking unwanted excitation light.

6. Eyepiece or Camera

The emitted fluorescence is observed through the eyepiece or captured using a sensitive camera.

Working of a Fluorescence Microscope

The working can be explained step by step.

Step 1: Fluorophore is introduced

The specimen is treated with a fluorescent dye or fluorescently labeled molecule.

Examples include fluorescent antibodies or DNA-binding dyes.

Step 2: Excitation

A strong light source produces light of the appropriate wavelength.

The excitation filter selects the required wavelength.

Step 3: Reflection by dichroic mirror

The excitation light reaches the dichroic mirror, which reflects it toward the objective.

Step 4: Illumination of specimen

The objective focuses the excitation light onto the specimen.

The fluorophore absorbs the excitation light.

Step 5: Fluorescence emission

The excited fluorophore returns to a lower-energy state and emits light of a longer wavelength.

Step 6: Separation of light

The emitted fluorescent light passes through the dichroic mirror and emission filter, while most of the excitation light is blocked.

Step 7: Image formation

The emitted light reaches the observer or camera, producing a bright fluorescent image, often against a dark background.

Optical Path

Light source
↓
Excitation filter
↓
Dichroic mirror
↓
Objective lens
↓
Specimen + fluorophore
↓
Emitted fluorescent light
↓
Objective lens
↓
Dichroic mirror
↓
Emission/barrier filter
↓
Eyepiece/camera
↓
Image

6. Fluorescence

Fluorescence occurs when a molecule absorbs energy from incoming light and becomes excited.

It then releases some of that energy as light while returning toward its lower-energy state.

Important concept

Excitation wavelength < Emission wavelength

The emitted light therefore generally has a longer wavelength and lower energy than the excitation light.

This difference is called the Stokes shift.

7. Fluorophores

A fluorophore is a molecule that can absorb light at one wavelength and emit light at another wavelength.

Examples include:

- Fluorescein (FITC)

- Rhodamine

- DAPI

- GFP (Green Fluorescent Protein)

- Texas Red

Different fluorophores emit different colors.

For example:

- DAPI → blue

- FITC → green

- Rhodamine → red/orange

Types of Fluorescence Microscopy

1. Epifluorescence Microscopy

- Excitation and emission light pass through the same objective.

- Commonly used fluorescence microscope configuration.

2. Immunofluorescence Microscopy

Uses fluorescently labeled antibodies to detect specific antigens or proteins.

It can be:

- Direct immunofluorescence

- Indirect immunofluorescence

3. Confocal Fluorescence Microscopy

- Uses a focused laser beam and optical sectioning.

- Reduces out-of-focus fluorescence.

- Can produce sharp images of different depths and 3D reconstructions.

Applications

Fluorescence microscopy has many applications.

Microbiology

- Detection and identification of microorganisms.

- Detection of specific bacteria and fungi.

- Study of microbial structures.

Immunology

- Detection of antigens and antibodies.

- Immunofluorescence tests.

Cell Biology

- Study of cell organelles.

- Localization of proteins.

- Study of cellular processes.

Molecular Biology

- Detection of DNA and RNA.

- Gene expression studies.

- Fluorescent labeling techniques.

Medical Diagnosis

- Detection of certain infectious agents.

- Detection of specific cellular or tissue markers.

- Research and diagnostic pathology.

Research

- Tracking proteins within cells.

- Studying cell signaling.

- Measuring cellular interactions.

Advantages

- High specificity when appropriate fluorophores are used.

- Specific structures can be selectively labeled.

- Multiple structures can be visualized using different fluorophores.

- Useful for observing cellular components that are difficult to distinguish in ordinary bright-field microscopy.

- Can be combined with antibodies for highly specific detection.

- Confocal systems can provide optical sections and 3D information.

Limitations

- Fluorescent dyes can undergo photobleaching.

- Some fluorophores can damage cells through phototoxicity.

- Fluorescent labels may alter the biological system if not carefully designed.

- Fluorescence may fade with prolonged illumination.

- Specialized equipment can be expensive.

- Autofluorescence from specimens can interfere with observations.

- Fluorescence microscopy generally requires appropriate fluorescent labeling or naturally fluorescent molecules.